DATE:			September 2016

TO:		Board of Mayor and Aldermen

FROM:		Eric Stuckey, City Administrator
Mark Hilty, Water Management Director

SUBJECT:		3rd Quarter 2016 Wastewater Collection System Activities Summary

Purpose

The purpose of this memo is to provide information to the Franklin Board of Mayor and Aldermen (BOMA) concerning maintenance and inspection activities performed in the City’s Wastewater Collection System.

Background

Per the May 10, 2016 settlement agreement between HRWA and the City of Franklin, item #9, page 8, the City will create and report to BOMA a summary of the previous quarter’s activities, including amount of infrastructure inspected and assessed, feet of pipe cleaned and repairs made.  The attached table presents a summary of these activities.

During the third quarter of 2016, Water Management staff have performed inspections and cleaning on over 95,000 linear feet (LF) of sanitary sewer line.  This equates to approximately 4.8% of the collection system.  Inspections and subsequent maintenance of manholes totaled 270 and 31 respectively.  The number of inspections performed in the third quarter of 2016 is approximately 3.1% of the manholes in Franklin’s system.  In review of these and other activities, Water Management staff has performed proactive and reactive inspection and maintenance tasks at point locations at a rate of over three deployments per day and for linear infrastructure at a rate of over 1,000 LF/day.

Financial Impact

This report does not create any anticipated financial impact(s).

Recommendation

Staff recommends review and approval of this Quarterly report for City record.