## Single Family SW Sizing
Single Family Stormwater Management Sizing
Select the measure that will be used with this calculation
Rain Event | 1 | inch storm
Contributing Drainage Area | 0 | square feet | Input the contributing drainage area in the blue cell
Volume Required | 0 | cubic feet
Both Cisterns and Manufactured Dry wells are manufactured products. These will need to be sized based on the volume required above. Manufacturer details and calculations shall be provided.
Gravel Dry Well
|  | Square |  |  | Circular
Depth |  | 0 | ft | Depth | 0 | ft
Width |  | 5 | ft | Diameter | 6 | ft
Length |  | 5 | ft
| Volume | 0 | cubic feet
Modified French Drain
Depth of Gravel |  | 2 | ft
Width of Trench |  | 2 | ft
Length |  | 0 | ft
| Volume | 0 | cubic feet
Rain Garden
Surface Area Required |  | 0 | square feet
Depth of Amended Soil |  | 2 | ft
| Volume | 0 | cubic feet
Permeable Pavement
Surface Area Required |  | 0 | square feet
Depth of Stone |  | 1 | ft | minimum of 6"
| Volume | 0 | cubic feet